## Slide 1: What are Biomaterials?

## Slide 2: Biomaterials:
A synthetic or natural material that is used in a medical device and intended to interact with biological systems.

## Slide 3: Synthetic vs Natural
Synthetic: materials made through chemical reactions, producing a material with new properties (stainless steel, titanium, etc.)
Natural: materials found in nature/biologically derived (silk, collagen, gelatin, etc.)
Combination: material made of both synthetic and natural materials

## Slide 4: Ceramics
Ceramics: A hard material made from naturally occurring, but non-metallic raw materials (clay, sand, etc.)
Medical Applications: Bone grafts, bone cements, implant coatings, etc.
Synthetic or natural: Can be synthetic or natural, or a combination of both
Source: Britannica Kids

## Slide 5: Metals
Definition: “A substance characterized by its strength and ability to conduct heat and electricity”
Medical Applications: Electrodes for electronic devices, orthopedic fixation plates and screws, etc.
Natural or Synthetic: Can be synthetic or natural
Source: Mining and Refining
Source: Britannica Kids

## Slide 6: What are the three major types of biomaterials?

## Slide 7: Polymers
Definition: Large molecules made from small repeating units.
  Poly = many
  Mer = the repeating units within a polymer
Medical Applications: Contact lenses, knuckle replacements, sutures
Source: Synthetic polymers are derived from petroleum oil
How are they made: synthetic polymers are created through chemical reactions
Synthetic or natural: Can be synthetic or natural, or a combination
Hydrogels: A type of polymer that swells in water and retains water within the structure without dissolving (used for soft tissue applications such as contract lenses)

## Slide 8: Composites
Definition: Substances consisting of two or more distinct materials (metals, polymers, ceramics, etc.)
Why use composites? Used to improve material properties and often to optimize mechanical properties.
Medical Applications: Dental implants or orthopedics
Synthetic or natural: Can be synthetic, natural or a combination

## Slide 9: Material Properties
Materials are often chosen for a medical application based on their properties
Examples:
  Load bearing bone/joint → need a material that can withstand the loading forces
  Soft tissue → need a soft material that can be infiltrated by cells

## Slide 10: Material Properties – Degradation
Biodegradable: controlled loss of material (degradation) within the body following implantation/administration of the biomaterial.
  Example: Controlled drug release
Biomaterials for tissue engineering aim to support tissue growth → new tissue forms while materials degrades

## Slide 11: Material Properties – Porosity
Porosity: Percentage of added holes/spaces throughout a material
Porosity affects mechanical properties and promotes favorable tissue responses.

## Slide 12: Material Properties – Mechanical
Biomaterials will experience many forces
Important for biomaterials to have similar mechanical properties to the tissue/organ it will be replacing
Examples:
                Properties for bone repair materials: Withstands body weight
                Properties for blood vessel materials: Withstands force of blood flow, and the narrowing and expansion of vessel

## Slide 13: Material Properties – Surface
Surface Properties: special properties that exist only at the surface of a material
  Adsorption: ability of molecules to stick to the surface of a material
    Proteins attached to the material prior to implantation
    Surface coating allowing for proteins or cells to attach once implanted
  Hydrophobic: Water fearing/repelling surface
  Hydrophilic: Water loving surface
  Surface Roughness: Smoothness or roughness of a surface which can change cell and protein attachment to surface
  Surface Coatings: Coating added to the surface of a material to change its surface specific properties.
    Ex: can be used to alter roughness, hydrophobicity, protein adsorption, degradation, etc.
  Surface Degradation: previously described

## Slide 14: Material Properties – Bulk
Bulk: Properties that exist throughout the entire material.
  Examples
    Mechanical properties
    Porosity
    Absorption
    Thermal
    Bulk degradation

## Slide 15: Material Properties – Biocompatibility
Biocompatibility: Ability of a material to cause a biological response once implanted
  Bio-: related to living organisms
  -Compatible: how well two things get along
Problems with biocompatibility:
    Immune rejection of material could cause inflammation, swelling, redness, or infection
    We want materials to be biocompatible to reduce unwanted immune reactions
Method for improving biocompatibility:
  Sterilization → reduces chance of virus/disease transfer, reduced infection risk
  Bioactive coatings → can help prevent negative biological responses
  Surface properties → reducing adsorption properties (limits bacterial adsorption)
  Incorporating antibacterials
  Using natural materials

## Slide 16: Image Credits:
Slide 1: Alexander Steamaze/Shutterstock.com
Slide 2: Denis---S/Shutterstock.com, Davizro Photography/Shutterstock.com, Ivan_Shenets/Shutterstock.com, maradek/Shutterstock.com
Slide 4: Chzu/Shutterstock.com
Slide 5: Joaquin Corbalan P/Shutterstock.com
Slide 6: Vink Fan/Shutterstock.com, Meade/NIBIB
Slide 7: Sansanorth/Shutterstock.com
Slide 8: Okayanstvo/Shutterstock.com
Slide 9: Vectoressa/Shutterstock.com, Meade/NIBIB
Slide 10: Meade/NIBIB
Slide 11: Maria Eliza Moraes/Shutterstock.com
Slide 12: Vectoressa/Shutterstock.com, cosmin4000/iStock.com, MikeRun/Wikimedia Commons
Slide 13: Meade/NIBIB, Meade/NIBIB
Slide 14: Denis---S/Shutterstock.com
Slide 15: Meade/NIBIB

## Slide 17: What are Biomaterials?

## Slide 18: Biomaterials:
A synthetic or natural material that is used in a and intended to interact with .

## Slide 19: Synthetic vs Natural
Synthetic: materials made through chemical reactions, producing a material with new properties (stainless steel, titanium, etc.)
Natural: materials found in nature/biologically derived (silk, collagen, gelatin, etc.)
Combination: material made of both synthetic and natural materials

## Slide 20: Ceramics
Ceramics: A hard material made from , but non-metallic raw materials (clay, sand, etc.)
Medical Applications:
Synthetic or natural: Can be synthetic or natural, or a combination of both
Source: Britannica Kids

## Slide 21
Definition: “A substance characterized by its strength and ability to conduct heat and electricity”
Medical Applications: Electrodes for electronic devices, orthopedic fixation plates and screws, etc.
Natural or Synthetic: Can be synthetic or natural
Source: Mining and Refining
Source: Britannica Kids

## Slide 22: What are the three major types of biomaterials?

## Slide 23: Polymers
Definition: Large molecules made from small repeating units.
  Poly = many
                = the repeating units within a polymer
Medical Applications: , knuckle replacements,
Source: Synthetic polymers are derived from petroleum oil
How are they made: synthetic polymers are created through chemical reactions
Synthetic or natural: Can be synthetic or natural, or a combination
Hydrogels: A type of polymer that swells in water and retains water within the structure without dissolving (used for soft tissue applications such as contract lenses)

## Slide 24: Composites
Definition: Substances consisting of two or more (metals, polymers, ceramics, etc.)
Why use composites? Used to and often to optimize mechanical properties.
Medical Applications: Dental implants or orthopedics
Synthetic or natural: Can be synthetic, natural or a combination

## Slide 25: Material Properties
Materials are often chosen for a medical application based on their
Examples:
  Load bearing bone/joint → need a material that can withstand the loading forces
  Soft tissue → need a soft material that can be infiltrated by cells

## Slide 26: Material Properties – Degradation
Biodegradable: controlled loss of material (degradation) within the body following implantation/administration of the biomaterial.
  Example: Controlled drug release
Biomaterials for tissue engineering aim to support → new tissue forms while materials

## Slide 27: Material Properties – Porosity
Porosity: Percentage of added throughout a material
Porosity affects mechanical properties and promotes favorable tissue responses.

## Slide 28: Material Properties – Mechanical
Biomaterials will experience many
Important for biomaterials to have similar mechanical properties to the tissue/organ it will be replacing
Examples:
                Properties for bone repair materials: Withstands body weight
                Properties for blood vessel materials: Withstands force of blood flow, and the narrowing and expansion of vessel

## Slide 29: Material Properties – Surface
Surface Properties: special properties that exist only at the surface of a material
  Adsorption: ability of molecules to stick to
    Proteins attached to the material prior to implantation
    Surface coating allowing for proteins or cells to attach once implanted
  Hydrophobic: Water surface
  Hydrophilic: Water surface
  Surface Roughness: Smoothness or roughness of a surface which can change cell and protein attachment to surface
  Surface Coatings: Coating added to the surface of a material to change its surface specific properties.
    Ex: can be used to alter roughness, hydrophobicity, protein adsorption, degradation, etc.
  Surface Degradation: previously described

## Slide 30: Material Properties – Bulk
Bulk: Properties that exist material.
  Examples
    Mechanical properties
    Porosity
    Absorption
    Bulk degradation

## Slide 31: Material Properties – Biocompatibility
Biocompatibility: Ability of a material to cause a once implanted
  Bio-: related to living organisms
  -Compatible: how well two things get along
Problems with biocompatibility:
    Immune rejection of material could cause inflammation, swelling, redness, or infection
    We want materials to be biocompatible to reduce unwanted immune reactions
Method for improving biocompatibility:
      → reduces chance of virus/disease transfer, reduced infection risk
  Bioactive coatings → can help prevent negative biological responses
  → reducing adsorption properties (limits bacterial adsorption)
  Incorporating antibacterials
  Using natural materials

## Slide 32: Image Credits:
Slide 1: Alexander Steamaze/Shutterstock.com
Slide 2: Denis---S/Shutterstock.com, Davizro Photography/Shutterstock.com, Ivan_Shenets/Shutterstock.com, maradek/Shutterstock.com
Slide 4: Chzu/Shutterstock.com
Slide 5: Joaquin Corbalan P/Shutterstock.com
Slide 6: Vink Fan/Shutterstock.com, Meade/NIBIB
Slide 7: Sansanorth/Shutterstock.com
Slide 8: Okayanstvo/Shutterstock.com
Slide 9: Vectoressa/Shutterstock.com, Meade/NIBIB
Slide 10: Meade/NIBIB
Slide 11: Maria Eliza Moraes/Shutterstock.com
Slide 12: Vectoressa/Shutterstock.com, cosmin4000/iStock.com, MikeRun/Wikimedia Commons
Slide 13: Meade/NIBIB, Meade/NIBIB
Slide 14: Denis---S/Shutterstock.com
Slide 15: Meade/NIBIB
Slide 1: Alexander Steamaze/Shutterstock.com
Slide 2: Denis---S/Shutterstock.com, Davizro Photography/Shutterstock.com, Ivan_Shenets/Shutterstock.com, maradek/Shutterstock.com
Slide 4: Chzu/Shutterstock.com
Slide 5: Joaquin Corbalan P/Shutterstock.com
Slide 6: Vink Fan/Shutterstock.com, Meade/NIBIB
Slide 7: Sansanorth/Shutterstock.com
Slide 8: Okayanstvo/Shutterstock.com
Slide 9: Vectoressa/Shutterstock.com, Meade/NIBIB
Slide 10: Meade/NIBIB
Slide 11: Maria Eliza Moraes/Shutterstock.com
Slide 12: Vectoressa/Shutterstock.com, cosmin4000/iStock.com, MikeRun/Wikimedia Commons
Slide 13: Meade/NIBIB, Meade/NIBIB
Slide 14: Denis---S/Shutterstock.com
Slide 15: Meade/NIBIB

## Slide 33: Biomaterials Quiz Game

## Slide 34
100
100
100
200
200
200
300
300
300

## Slide 35
Metals 100
What are three
medical applications
of metals?
Back to Home

## Slide 36
Metals 200
What is one advantage and one disadvantage
of metal biomaterials for medical applications?
Back to Home

## Slide 37
Metals 300
Where are metals for biomaterials sourced?
Back to Home

## Slide 38
Ceramics 100
What are three medical applications for
ceramic biomaterials
Back to Home

## Slide 39
Ceramics 200
What is one advantage and one disadvantage of ceramic biomaterials for medical applications?
Back to Home

## Slide 40
Ceramics 300
What tissue type are ceramic biomaterials most commonly used to replace and why?
Back to Home

## Slide 41
Polymers 100
What is the building block/repeating unit of a polymer?
Back to Home

## Slide 42
Polymers 200
What are three
medical applications of polymer biomaterials?
Back to Home

## Slide 43
Polymers 300
What is a hydrogel?
Back to Home

## Slide 44
Answers
Back to Home

## Slide 45
Metals 100
Answer:
Hip replacement, dental implants, bone screws, bone plates, etc.
Back to Home
*Other answers may
also be correct

## Slide 46
Metals 200
Answer:
Advantages: Mechanical properties, Resistant to fatigue degradation
Disadvantages: Corrodes, Metal Toxicity
*Other answers may
also be correct
Back to Home

## Slide 47
Metals 300
Answer:
Mining and Refining
Back to Home

## Slide 48
Ceramics 100
Answer:
Dental implants, Drug delivery, Joint replacement, Load-bearing
components, etc.
*Other answers may
also be correct
Back to Home

## Slide 49
Ceramics 200
Answer:
Advantages: Biocompatibility, Non-corrosive, Mechanical properties
Disadvantages: Brittle, Slow degradation, Difficult to make
*Other answers may
also be correct
Back to Home

## Slide 50
Ceramics 300
Answer:
Bone, Because of the similarities in structure
Back to Home

## Slide 51
Polymers 100
Answer:
Mer
Back to Home

## Slide 52
Polymers 200
Answer:
Drug delivery, Medical Devices, Anti-cancer therapy, Hydrogels, Artificial organs, etc.
*Other answers may
also be correct
Back to Home

## Slide 53
Polymers 300
Answer:
A polymer that swells in water and retains water within the structure without dissolving
Back to Home